Das Radioteleskop an der Volksternwarte Radebeul
Museumsnacht Radebeul, März 2010

---
Steuerung

---
Signalweg

---
Software
Raw Data Storage as ASCII-Lists containing timestamp, coordinates, raw+log value, errors in position (covariance matrix) and error of measurement
Visualisation of raw Data (Measurements vs. Time) and coordinate mapped Data (Meas. vs [RA,Dec])

---
Milchstrasse bei 1,4 GHz

---
Software
- Example: 2D-Scan of the Sun
- First, Data is mapped to equatorial-coordinate grid

---
Software
Assuming a Point-like distribution (which is not true for the sun, but ok for first iteration) we can fit a 2d-Gaussian + 2nd order polynomial Underground (14 parameters in total)
Fit returns some useful calibration parameters of our system: e.g. main lobe widths (a3,a5), sensitivity limit (a0) and gain (a1)

---
ToDo/Outlook
- Hardware not in final stage, i.e. RF-part still too insensitive
- Software Development proceeds well, but still 1..2 manyears until working release
- GPS-synchronised LO-Drive for desired time-coherence for Interferometer operation almost complete
- Documentation still to write!